## Introduction
Greater London Authority - Whole Life-Cycle Carbon (WLC) Assessment template
HOW TO USE THIS SPREADSHEET
This template should be used by planning applicants to fulfil the requirements of the Mayor's Whole Life-Cycle Carbon assessment policy set out in London Plan Policy SI 2. Before completing and submitting this spreadsheet to the GLA, applicants should read the Whole Life-Cycle Carbon Assessment guidance:
https://www.london.gov.uk/what-we-do/planning/implementing-london-plan/planning-guidance/whole-life-cycle-carbon-assessments-guidance-pre-consultation-draft
Applicants are required to submit WLC information to the GLA at the following three stages: pre-application, outline/detailed planning submission and post-construction. Separate tabs are provided in this spreadsheet for each stage. An outline of the information required at each stage and how to submit it is provided below.
1. Pre-application stage
At pre-application stage, applicants are required to complete the pre-application information tab of this template which requires applicants to confirm various details about the site and to provide details of the WLC principles which are informing the development of the site. This should be submitted to the GLA along with all other pre-application material.
2. Outline/detailed planning submission stage
At this stage, applicants are required to complete the outline or detailed planning stage tab of this template (whichever is relevant) and submit it to the GLA along with their planning application. This stage of the process requires a baseline WLC assessment against each life-cycle module to be undertaken. At outline stage this can be based on default figures from the RICS Professional Statement: Whole Life Carbon assessment for the built environment. At detailed stage this should be based on bespoke building assumptions. Applicants are required to undertake two assessments; the first accounts for the current status of the electricity grid and the second accounts for its expected decarbonisation. Applicants may determine which assessment is to form the basis of design decisions (which should be confirmed in the relevant cell) but both assessments should be completed. This spreadsheet allows for both assessments to be provided.
3. Post-construction stage
At the final stage of the WLC assessment process, applicants should complete the post-construction result tab of this template and submit it to the GLA within three months of practical completion. This will require an update of the information provided at planning submission stage and for the actual WLC carbon emission figures to be reported using actual material quantities and site emissions during construction. Information should be submitted to:
ZeroCarbonPlanning@london.gov.uk
QUERIES
Any queries or feedback on this template should be submitted to:
ZeroCarbonPlanning@london.gov.uk

## Pre-app information
Project details
Project name |  | New City Court
Planning application reference number (if applicable)
Use Type |  | Class E
Brief description of the project |  | Redevelopment to include demolition of the 1980s office buildings and erection of a 26-storey building (plus mezzanine and two basement levels), restoration and refurbishment of the listed terrace (nos. 4-16 St Thomas Street), and redevelopment of Keats House (nos. 24-26 St Thomas Street) with removal, relocation and reinstatement of the historic façade on a proposed building, to provide office floorspace, flexible office/retail floorspace, restaurant/café floorspace and a public rooftop garden, associated public realm and highways improvements, provision for a new access to the Borough High Street entrance to the Underground Station, cycling parking, car parking, service, refuse and plant areas, and all ancillary or associated works.
GIA (m2) |  | 55461
Authors (organisation or individuals) |  | chapmanbdsp
Date of assessment |  | 2021-07-12
WLC reduction principles | Principle | Key benefits | Has this principle been adopted? (Y/N) | If yes provide examples, and if no please provide reasons for this
1 | Reuse and retrofit of existing buildings | Significant retention and reuse of structures is carbon efficient and reduces construction costs. | Y | Reuse and retrofit of Georgian terraces and Keat’s house. The site is bounded on the north by what was originally seven Georgian houses. These were partly rebuilt in the early 1980s as office buildings. The proposals maintains a high proportion of the existing floor plan of these buildings. These buildings are to be refurbished as affordable office space. To the north east of the site, the elaborate façade of a Victorian building is to be retained and integrated into the new proposals. It was not possible to re-use and retrofit the existing concrete framed buildings that presently exist on the site as their layout and floor to floor heights were not compatible with modern efficient office servicing requirements. It was also not possible to re-use and retrofit the concrete basement of the existing building. The existing piling will not withstand the loads of the new proposed building and therefore new piles are to be installed and the basement rebuilt accordingly.
2 | Use recycled or repurposed material | Reduces carbon emissions and reduces waste. | Y | An early decision was made to construct the superstructure in concrete rather than steel in order to reduce embodied carbon. The intent is to maximise repurposed cement replacement materials, using 30-50% GGBS as a cement substitute. In addition to the above, recycled aggregates will be included in basement concrete mix. The material arising from demolition waste will be reutilised where possible. The aluminium in the façade chassis and glazing framing systems is also proposed to include a high recycled content. All back fill, hard core and piling mats in the construction process, are to be of recycled material. The demolished building masonry and concrete will be fed back into the recycling process, and if not to be used on this site, then recycled for use on other sites. Raised access floors to have a high recycled content. Landscape aggregates and hard landscape will include recycled materials. Design specifications will include clauses requiring that where possible products should include a high degree of recycled content.
3 | Material selection | Appropriate material choices is key to carbon reduction. Ensuring that there is synchronicity between materials selected and planned life expectancy of the building reduces waste and the need for replacement, thus reducing in use costs. | Y | Design of primary structure to be compatible with the design life The primary structure of the proposed building is to be specified to have a design life of 60 years. This will allow the building to be refurbished and re-used at a minimum of the design life, but it is expected that this will be built to a standard that could have a life of 200 yrs. Material specified will include natural durable materials such as stone paving, as flag stone or stone setts. In the first instance attempts will be made to obtain recycled paving. The installed paving will be durable and can be recycled and re-used in future installations as may be. Materials from renewable sources will be specified as part of the initial fit out in primary elements such as the core fit out. The refurbishment of the Georgian Buildings and the redevelopment of Keats House will utilize timber in their construction. The design process target a ‘lean construction’, and has resulted in optimised grids and minimised reinforcing bar procurement. New technologies have been explored, including Cemfree. Off-site fabrication of concrete building elements (eg: columns) allows for a higher percentage of cement replacement. The Cat A construction and installations should be lowest embodied carbon content of the building’s life.
4 | Minimise operational energy use | A 'fabric first' approach should be prioritised to minimise energy demand and reduce carbon and in-use costs. | Y | Intensive exercise on reducing operational energy carried out. The development is a NABERS Design for Performance pioneer project and the intention is to assess building using newly available NABERS scheme Openable vents are part of the façade design, which can provide localized natural cooling and reduce operational energy for cooling energy. A fabric first approach has been taken with the design which will reduce operational energy use. Examples include: The concrete frame provides a solidity as well as an exposed thermal mass which will moderate the temperatures and reduce both heating and cooling energy use. The slabs also include embedded cooling which will extend natural cooling. The facades are profiled with depth to provide natural self-shading to provide a balance between light and heat loads. Lifts are specified to be machine room less which are lower energy by design. The base build is a Cat A fit out, but it is proposed that the tenants will have green leases to encourage lower tenant energy use. It is proposed that the lighting will embrace new technologies which will reduce lighting energy. Generally there will be a move away from “over specification” in order to reduce waste.
5 | Minimise operational water use | Choice of materials and durability of systems, to avoid leakage and subsequent building damage, contribute to reducing the carbon cost of water use. | Y | Low water consuming fittings and fixtures. Flow control devices to minimise risk of undetected leaks Automatic leak detection system on mains water supply Low water consuming fittings and fixtures to be specified. Further tenant throttling of consumption to be encouraged. Fittings to be retested periodically to maintain reduced flow rates. Rainwater and grey water recycling strategies will be included in the proposals. This will include the use of recycled rainwater for back of house domestic appliances and maintenance, as well as for landscape irrigation.
6 | Disassembly and reuse | Designing for future disassembly ensures that products do not become future waste, and maintain their environmental and economic value. | Y | Modular elements such as demountable floors, cladding, etc proposed where possible. The base build installation includes for raised access floors in the offices which are modular and can be re-used as necessary. The façade is modular, with a framed demountable chassis and modularised final elements. These include the demountable glazing systems as well as demountable glass reinforced cement panels, all materials that can be recycled. Maximising offsite construction which minimises the use of wet trades on site and increases opportunities for reversible connection. Lime mortar will specified for the brick refurbishment works for the Georgian buildings and Keats House. This reduces the requirement for movement joints, reduces the carbon included in Portland cement manufacture, but also allows for easier disassembly of brick walls in the future for re-use.
7 | Building shape and form | Compact efficient shapes help minimise both operational and embodied carbon emissions for a given floor area. This means a more efficient building overall resulting in lower construction and in use costs. | Y | The site is within a complex urban environment, within a conservation area, with many physical and planning constraints. The architectural arrangement for the lower floors and public realm have therefore responded positively to the immediate urban environment. The tower that emerges from level 05 to 23 is compact with rounded corners that reduce the perimeter area. The compact arrangement reduces the wall to floor ratio and therefore reduces energy usage and façade materials. Office floor to floor heights area optimised and compact to maximize efficient operational energy consumption as well as an effective natural ventilation strategy. The plan depth ratio to the core has also been optimised to benefit from daylight.
8 | Regenerative design | Removing CO2 from the atmosphere through materials and systems absorbing it makes a direct positive contribution to carbon reduction. | Y | Recent research indicates that concrete absorbs roughly 30% of the amount of CO2 that cement production emits. The substructure and superstructure of the building is in concrete and much of it is exposed. It is proposed that where possible concrete will be remain unfinished/unsealed to facilitate CO2 absorption. For example: all the office soffits are proposed to be exposed concrete, as well and the basement construction. It is proposed that timber elements will be included in the base build fit-out, e.g. core fit-out. This maintains the sustainable forests that absorb CO2. The building proposal is extensively landscaped, all of which absorb CO2. Planted balconies are proposed for each office floor level as well extensive landscape planting on levels, G Fl, L05, L24 & L26. An Urban Greening Factor of greater than 0.3 is predicted. Strive to be ‘carbon positive’ using materials that take carbon out of the atmosphere and aiming for a building that generates more energy than it consumes.
9 | Designing for durability and flexibility | Durability means that repair and replacement is reduced which in turn helps reduce life-time building costs. A building designed for flexibility can respond with minimum environmental impact to future changing requirements and a changing climate, thus avoiding obsolescence which also underwrites future building value. | Y | The building is predominantly an office building designed with flexible open plan floors. This allows for the minimal light weight demolition to occur when tenants change or there is a change of use. The building is designed to be built with predominantly robust self-finished materials such as concrete. The concrete floor to soffit exceeds BCO guidance which allows for flexible use in the future. 1 soft spot per possible tenanted area is to be designed in, to allow tenant and future use flexibility. Concrete flat floor slabs are to be installed. This allows for an easy change of use in the future (e.g. from office to residential or hotel) Primary structure designed to last beyond building service life. Design by layers in accordance with their life span for easy maintenance and replacement.
10 | Optimisation of the relationship between operational and embodied carbon | Optimising the operational/embodied carbon relationship contributes directly to resource efficiency and overall cost reduction. |  | Design of the project to be looked holistically to obtain the best result. Operation and building is to be designed for a low carbon energy supply, e.g. grid supplied electricity. The procurement strategy will also target low embodied carbon procurement. The large client and project is also able to attract large contractors that can optimise their supply chain to offer low carbon products.
11 | Building life expectancy | Defining building life expectancy gives guidance to project teams as to the most efficient choices for materials and products. This aids overall resource efficiency, including cost efficiency and helps future proof asset value. | Y | Life span intent for various key elements: structure, façade The design life of the new structure is proposed to be 60 years. The design and product service life expectancy of the new cladding is expected to be to 30 years, with shorter service life periods for specific assembly products. Building Services design life will be in accordance with CIBSE Guide M Appendix 12.A1. The design will also be carried out with view to component replacement, which will reduce complete replacement of the larger building elements. The client holds a REIT status. They are therefore committed to holding onto their developed properties for long terms and have a vested interest in a long building life expectancy.
12 | Local sourcing | Sourcing local materials reduces transport distances and supply chain lengths and has associated local social and economic benefits. | Y | Sustainable sourcing to be at the base of the design of the project. Specifications for materials will include clauses for preference to be given to suppliers and manufacturers which use local materials, as well as those that utilize shipping rather HGV for long distance delivery.
13 | Minimising waste | Waste represents an unnecessary and avoidable carbon cost. Buildings should be designed to minimise fabrication and construction waste, and to ease repair and replacement with minimum waste, which helps reduce initial and in-use costs. | Y | Where possible, standardized sizes and modules of materials and products will be specified to reduce cutting and waste. The preliminaries will also oblige the main contractor to utilise best site waste management plan practices to assist with the recycling of waste and divert as much waste from landfill.
14 | Efficient fabrication | Efficient construction methods (e.g. modular systems, precision manufacturing and modern methods of construction) contribute to better build quality, reduce construction phase waste and reduce the need for repairs during post completion and the defects period (snagging). | Y | Off-site pre-fabrication will be developed to improve efficiency and reduce construction stage waste, e.g. façade installation, stair installations, and core WC installations. Structural elements may also be pre-fabricated, e.g. columns, twin wall construction. Building services modularization will follow best practice for bespoke DfMA (Design for Manufacture and Assembly).
15 | Lightweight construction | Lightweight construction uses less material which reduces the carbon footprint of the building as there is less material to source, fabricate and deliver to site. | Y | Weight of the structure was assessed in relation with foundation options to limit the underground works The benefits of thermal mass of a concrete construction with concrete floors was preferred to a lightweight construction. However, the decision to include PT concrete slabs has the advantage of a the slimmest, lightest concrete slab.
16 | Circular economy | The circular economy principle focusses on a more efficient use of materials which in turn leads to carbon and financial efficiencies. | Y | The procurement process will favour suppliers that have circular economy strategy in their production process. Composites will be designed out to ensure ease of re-cycling. Designers to work with the future Building Management to agree an Asset Management strategy. This will include: a. Building management education b. A predictive repairs strategy c. Guidance for recycling Asset tagging, which will assist to maintain accurate records of the building materials, as well as to assist with future demolition audits and re use and recycling of construction elements and materials.

## Outline planning stage
Project details
Project name
Planning application reference number (if applicable)
Use Type |  | e.g. A1, B1 etc.
Brief description of the project
GIA (m2)
Authors (organisation or individuals)
Date of assessment
Nationally recognised assessment method used |  | e.g. BS EN 15978, with additional guidance from RICS Professional Statement
Reference study period (if not 60 years) |  | [This cell should only be filled in if the reference study period, i.e. the assumed building life expectancy, exceeds or is less than 60 years. Applicants should state the reference study period in this cell. While the assessment should still be done to 60 years, applicants may, if they choose to, submit an additional assessment of the modules B, C and D for the actual reference study period by copying and pasting an additional 'GWP potential for all life-cycle modules' table, see below].
Software tool used |  | [This should align with the software tool used at outline/detailed planning stage]
Source of carbon data for materials and products |  | [See guidance for acceptable sources]
EPD database used |  | [If using more than one database please list all]
Estimated WLC emissions (Assessment 1) N.B. This forms the WLC baseline for the development. The results from Assessment 1 below are automatically populated here. | [7 empty] | Estimated WLC emissions (Assessment 2) N.B. The results from Assessment 2 below are automatically populated here.
|  | Module A1-A5 | Module B1-B5 | Module B6-B7 | Module C1-C4 | Module D |  |  |  | Module A1-A5 | Module B1-B5 | Module B6-B7 | Module C1-C4 | Module D
TOTAL kg CO2e |  | 0 | 0 | #VALUE! | 0 | 0 |  | TOTAL kg CO2e |  | 0 | 0 | #VALUE! | 0 | 0
TOTAL kg CO2e/m2 GIA |  | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0! |  | TOTAL kg CO2e/m2 GIA |  | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Comparison with WLC benchmarks (see Appendix 2 of the guidance) if Assessment 1 was used to inform design decisions |  | [Explain the reasons for any divergences from WLC benchmarks, including against the WLC aspirational benchmarks] | [5 empty] | Comparison with WLC benchmarks (see Appendix 2 of the guidance) if Assessment 2 was used to inform design decisions |  | [Explain the reasons for any divergences from WLC benchmarks, including against the WLC aspirational benchmarks. Please note that grid decarbonisation has not been accounted for in the benchmarks]
Key site opportunities and constraints in reducing WLC emissions
Summary of key actions to reduce whole life-cycle carbon emissions that have informed this assessment, including the WLC reductions |  | Action |  |  | WLC reduction (kg CO2e/m2 GIA)
[This list does not need to be exhaustive but should identify the actions with the biggest impacts. Insert more lines if needed]
Specify further opportunities to reduce the development’s whole life-cycle carbon emissions. including the WLC reduction potential |  | Further potential opportunities |  |  | WLC reduction potential (kg CO2e/m2 GIA)
[Insert more lines as needed]
MATERIAL QUANTITY AND END OF LIFE SCENARIOS |  | Product and Construction Stage (Module A) |  | Assumptions made with respect to maintenance, repair and replacement cycles (Module B) | Material 'end of life' scenarios (Module C) |  | Benefits and loads beyond the system boundary (Module D)
Building element category |  | Material type | Material quantity (kg) |  |  |  | Estimated reusable materials (kg) | Estimated recyclable materials (kg)
Note/example |  | Breakdown of material type in each category [Insert more lines if needed] e.g. Concrete | 65000 kg | For all primary building systems (structure, substructure, envelope, MEP services, internal finishes) | Declare 'end of life' scenario as per project’s Circular Economy Statement |  | 0 kg | 25 kg
|  | e.g. Reinforcement | 5000 kg |  |  |  | 2 kg | 8 kg
|  | e.g. Formwork | 250 kg |  |  |  | 0 kg | 0 kg
0.1 | Demolition: Toxic/Hazardous/Contaminated Material Treatment
0.2 | Major Demolition Works
0.3 | Temporary Support to Adjacent Structures
0.4 | Specialist Ground Works
1 | Substructure
2.1 | Superstructure: Frame
2.2 | Superstructure: Upper Floors
2.3 | Superstructure: Roof
2.4 | Superstructure: Stairs and Ramps
2.5 | Superstructure: External Walls
2.6 | Superstructure: Windows and External Doors
2.7 | Superstructure: Internal Walls and Partitions
2.8 | Superstructure: Internal Doors
3 | Finishes
4 | Fittings, furnishings & equipment (FFE)
5 | Services (MEP)
6 | Prefabricated Buildings and Building Units
7 | Work to Existing Building
8 | External works
|  | TOTAL | 0 |  |  |  | 0 | 0
|  | Material intensity (kg/m2 GIA) | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
Confirm here whether Assessment 1 or Assessment 2 (see below) is to form the basis of design decisions
ASSESSMENT 1 - current status of the electricity grid
GWP POTENTIAL FOR ALL LIFE-CYCLE MODULES1 (kgCO2e) |  | Sequestered (or biogenic) carbon (negative value) (kgCO2e) | Product stage (kgCO2e) | Construction process stage (kgCO2e) |  | Use stage (kgCO2e) | [7 empty] | End of Life (EoL) stage (kgCO2e) |  |  |  | TOTAL Modules A-C kgCO2e | Benefits and loads beyond the system boundary (kgCO2e)
|  |  | Module A |  |  | Module B | [7 empty] | Module C |  |  |  |  | Module D*
Building element category |  |  | [A1] to [A3] | [A4]2 | [A5] | [B1] | [B2]* | [B3]* | [B4]* | [B5]* | [B6] |  | [B7] | [C1] | [C2] | [C3] | [C4]
0.1 | Demolition: Toxic/Hazardous/Contaminated Material Treatment | [16 empty] | 0
0.2 | Major Demolition Works | [16 empty] | 0
0.3 | Temporary Support to Adjacent Structures | [16 empty] | 0
0.4 | Specialist Ground Works | [16 empty] | 0
0.5 | Temporary Diversion Works | [16 empty] | 0
1 | Substructure | [16 empty] | 0
2.1 | Superstructure: Frame | [16 empty] | 0
2.2 | Superstructure: Upper Floors | [16 empty] | 0
2.3 | Superstructure: Roof | [16 empty] | 0
2.4 | Superstructure: Stairs and Ramps | [16 empty] | 0
2.5 | Superstructure: External Walls | [16 empty] | 0
2.6 | Superstructure: Windows and External Doors | [16 empty] | 0
2.7 | Superstructure: Internal Walls and Partitions | [16 empty] | 0
2.8 | Superstructure: Internal Doors | [16 empty] | 0
3 | Finishes | [16 empty] | 0
4 | Fittings, furnishings & equipment | [16 empty] | 0
5 | Services (MEP) |  |  |  | Module B [B6]: Regulated emissions | Unregulated emissions | Operational Water |  |  |  |  | 0
6 | Prefabricated Buildings and Building Units | [16 empty] | 0
7 | Work to Existing Building | [16 empty] | 0
8 | External works | [16 empty] | 0
TOTAL kg CO2e |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! |  | Operational Water | 0 | 0 | 0 | 0 | 0 | 0
TOTAL - kg CO2e/m2 GIA |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! |  | #VALUE! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Notes:
* Report non-decarbonised values for both material and operational emissions using current status of the electricity grid. | [18 empty] | Mandatary cells for completion
1 If you have entered a reference study period in cell C10 because the assumed building life expectancy is greater or less than 60 years, this table should be copied and pasted below using the actual assumed life expectancy. This should be done for both GWP reporting tables and should be clearly labelled. | [18 empty] | N/A
2 Use the ‘European manufactured’ transportation scenarios (see Table 7, page 19 of the RICS PS) to calculate transportation emissions of MEP equipment.
ASSESSMENT 2 - expected decarbonisation of the electricity grid
GWP POTENTIAL FOR ALL LIFE-CYCLE MODULES1 (kgCO2e) |  | Sequestered (or biogenic) carbon (negative value) (kgCO2e) | Product stage (kgCO2e) | Construction process stage (kgCO2e) | Module B [B1]: Use stage (kgCO2e) |  |  | End of Life (EoL) stage (kgCO2e) |  |  |  | TOTAL Modules A-C kgCO2e | Benefits and loads beyond the system boundary (kgCO2e)
|  |  | Module A |  | Module B [B1]: Module B |  |  | Module C |  |  |  |  | Module D*
Building element category |  |  | [A1] to [A3] | [A4]2 | [A5] | [B1] | [B2]* | [B3]* | [B4]* | [B5]* | [B6] |  | [B7] | [C1] | [C2] | [C3] | [C4]
0.1 | Demolition: Toxic/Hazardous/Contaminated Material Treatment | [16 empty] | 0
0.2 | Major Demolition Works | [16 empty] | 0
0.3 | Temporary Support to Adjacent Structures | [16 empty] | 0
0.4 | Specialist Ground Works | [16 empty] | 0
0.5 | Temporary Diversion Works | [16 empty] | 0
1 | Substructure | [16 empty] | 0
2.1 | Superstructure: Frame | [16 empty] | 0
2.2 | Superstructure: Upper Floors | [16 empty] | 0
2.3 | Superstructure: Roof | [16 empty] | 0
2.4 | Superstructure: Stairs and Ramps | [16 empty] | 0
2.5 | Superstructure: External Walls | [16 empty] | 0
2.6 | Superstructure: Windows and External Doors | [16 empty] | 0
2.7 | Superstructure: Internal Walls and Partitions | [16 empty] | 0
2.8 | Superstructure: Internal Doors | [16 empty] | 0
3 | Finishes | [16 empty] | 0
4 | Fittings, furnishings & equipment | [16 empty] | 0
5 | Services (MEP) |  |  |  | Module B [B6]: Regulated emissions | Unregulated emissions | Operational Water |  |  |  |  | 0
6 | Prefabricated Buildings and Building Units | [16 empty] | 0
7 | Work to Existing Building | [16 empty] | 0
8 | External works | [16 empty] | 0
TOTAL kg CO2e |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! |  | Operational Water | 0 | 0 | 0 | 0 | 0 | 0
TOTAL - kg CO2e/m2 GIA |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! |  | #VALUE! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Notes:
* Report decarbonised values for both material and operational emissions using expected decarbonisation of the electricity grid. | [18 empty] | Mandatary cells for completion
1 If you have entered a reference study period in cell C10 because the assumed building life expectancy is greater or less than 60 years, this table should be copied and pasted below using the actual assumed life expectancy. This should be done for both GWP reporting tables and should be clearly labelled. | [18 empty] | N/A
2 Use the ‘European manufactured’ transportation scenarios (see Table 7, page 19 of the RICS PS) to calculate transportation emissions of MEP equipment.

## Detailed planning stage
Project details
Project name |  | New City Court
Planning application reference number (if applicable)
Use Type |  | Class E
Brief description of the project |  | Redevelopment to include demolition of the 1980s office buildings and erection of a 26-storey building (plus mezzanine and two basement levels), restoration and refurbishment of the listed terrace (nos. 4-16 St Thomas Street), and redevelopment of Keats House (nos. 24-26 St Thomas Street) with removal, relocation and reinstatement of the historic façade on a proposed building, to provide office floorspace, flexible office/retail floorspace, restaurant/café floorspace and a public rooftop garden, associated public realm and highways improvements, provision for a new access to the Borough High Street entrance to the Underground Station, cycling parking, car parking, service, refuse and plant areas, and all ancillary or associated works.
GIA (m2) |  | 55461
Authors (organisation or individuals) |  | chapmanbdsp
Date of assessment |  | 2021-07-12
Nationally recognised assessment method used |  | BS EN 15978, with additional guidance from RICS Professional Statement
Reference study period (if not 60 years) |  | [This cell should only be filled in if the reference study period, i.e. the assumed building life expectancy, exceeds or is less than 60 years. Applicants should state the reference study period in this cell. While the assessment should still be done to 60 years, applicants may, if they choose to, submit an additional assessment of the modules B, C and D for the actual reference study period by copying and pasting an additional 'GWP potential for all life-cycle modules' table, see below].
Software tool used |  | One Click LCA
Source of carbon data for materials and products |  | List provided in the appendix.
EPD database used |  | List provided in the appendix.
Estimated WLC emissions (Assessment 1) N.B. This forms the WLC baseline for the development. The results from Assessment 1 below are automatically populated here. | [7 empty] | Estimated WLC emissions (Assessment 2) N.B. The results from Assessment 2 below are automatically populated here.
|  | Module A1-A5 | Module B1-B5 | Module B6-B7 | Module C1-C4 | Module D |  |  |  | Module A1-A5 | Module B1-B5 | Module B6-B7 | Module C1-C4 | Module D
TOTAL kg CO2e |  | 30548286.91 | 12857409.47 | 82909030.16 | 768803.91 | -27666375.48 |  | TOTAL kg CO2e |  | 30548286.91 | 11421851.35 | 26195240.01 | 768803.91 | -24456651.5
TOTAL kg CO2e/m2 GIA |  | 550.8066 | 231.8279 | 1494.9069 | 13.8621 | -498.8438 |  | TOTAL kg CO2e/m2 GIA |  | 550.8066 | 205.9438 | 472.3182 | 13.8621 | -440.9703
Comparison with WLC benchmarks (see Appendix 2 of the guidance) if Assessment 1 was used to inform design decisions |  | Since during this stage, individual manufacturers EPDs are not available as yet, the current WLC analysis is based on typical materials database available on One Click LCA to give an indication of the expected performance. Once EPDs would be available a more accurate assessment could be undertaken. Materials quantities information while the study was being conducted was also limited and figures would be expected to vary as the design develops and further studies such as piles sizing is conducted. This early stages WLC calculation shows that there is a good potential for the design to achieve ≤ 570 kgCO2e/m2 (A1 - A5), however this is based on the limited materials information available at this stage of the design. Current design shows 551 kgCO2e/m2. NOTE: Average site emissions have been calculated for the site based on the project value per £1 million for each RICS category in One Click LCA. | [5 empty] | Comparison with WLC benchmarks (see Appendix 2 of the guidance) if Assessment 2 was used to inform design decisions |  | [Explain the reasons for any divergences from WLC benchmarks, including against the WLC aspirational benchmarks. Please note that grid decarbonisation has not been accounted for in the benchmarks]
Key site opportunities and constraints in reducing WLC emissions |  | An extensive whole life carbon study was conducted by chapmanbdsp last year to understand what opportunities the site had for maximising the potential reduction in WLC. Some of the opportunities which have already been adopted within the Proposed Development as part of the baseline design include: − Optimised grid dimensions − Use of PT slab instead of composite deck − Replacing steel columns with concrete columns − Using high proportions of cement replacement in concrete
Summary of key actions to reduce whole life-cycle carbon emissions that have informed this assessment, including the WLC reductions |  | Action |  |  | WLC reduction (kg CO2e/m2 GIA)
|  | Changed floor construction from composite floor with metal deck to PT slab and concrete columns |  |  | 55
|  | Changed concrete from 20% GGBS to 50% GGBS |  |  | 44
Specify further opportunities to reduce the development’s whole life-cycle carbon emissions. including the WLC reduction potential |  | Further potential opportunities |  |  | WLC reduction potential (kg CO2e/m2 GIA)
|  | Change internal pane from laminate to monolithic pane |  |  | 1
|  | Reduce structural loading by 0.5 kN |  |  | 7
MATERIAL QUANTITY AND END OF LIFE SCENARIOS |  | Product and Construction Stage (Module A) |  | Assumptions made with respect to maintenance, repair and replacement cycles (Module B) | Material 'end of life' scenarios (Module C) |  | Benefits and loads beyond the system boundary (Module D)
Building element category |  | Material type | Material quantity (kg) |  |  |  | Estimated reusable materials (kg) | Estimated recyclable materials (kg)
Note/example |  | Breakdown of material type in each category [Insert more lines if needed] e.g. Concrete | 65000 kg | For all primary building systems (structure, substructure, envelope, MEP services, internal finishes) | Declare 'end of life' scenario as per project’s Circular Economy Statement |  | 0 kg | 25 kg
|  | e.g. Reinforcement | 5000 kg |  |  |  | 2 kg | 8 kg
|  | e.g. Formwork | 250 kg |  |  |  | 0 kg | 0 kg
0.1 | Demolition: Toxic/Hazardous/Contaminated Material Treatment | See sheet "Appendix 1 - Material Qty & EOL". A full breakdown of the external works could not be provided in the current table as new rows could not be inserted below. Instead, please see sheet Appendix 1. | See sheet "Appendix 1 - Material Qty & EOL" |  | See sheet "Appendix 1 - Material Qty & EOL" |  | See sheet "Appendix 1 - Material Qty & EOL" | See sheet "Appendix 1 - Material Qty & EOL"
0.2 | Major Demolition Works
0.3 | Temporary Support to Adjacent Structures
0.4 | Specialist Ground Works
1 | Substructure |  |  | See sheet "Appendix 1 - Material Qty & EOL"
2.1 | Superstructure: Frame
2.2 | Superstructure: Upper Floors
2.3 | Superstructure: Roof
2.4 | Superstructure: Stairs and Ramps
2.5 | Superstructure: External Walls
2.6 | Superstructure: Windows and External Doors
2.7 | Superstructure: Internal Walls and Partitions
2.8 | Superstructure: Internal Doors
3 | Finishes
4 | Fittings, furnishings & equipment (FFE)
5 | Services (MEP)
6 | Prefabricated Buildings and Building Units
7 | Work to Existing Building
8 | External works
|  | TOTAL | 0 |  |  |  | 0 | 0
|  | Material intensity (kg/m2 GIA) | 0 |  |  |  | 0 | 0
Confirm here whether Assessment 1 or Assessment 2 (see below) is to form the basis of design decisions |  | Assessment 2
ASSESSMENT 1 - current status of the electricity grid
GWP POTENTIAL FOR ALL LIFE-CYCLE MODULES1 (kgCO2e) |  | Sequestered (or biogenic) carbon (negative value) (kgCO2e) | Product stage (kgCO2e) | Construction process stage (kgCO2e) |  | Use stage (kgCO2e) | [7 empty] | End of Life (EoL) stage (kgCO2e) |  |  |  | TOTAL Modules A-C kgCO2e | Benefits and loads beyond the system boundary (kgCO2e)
|  |  | Module A |  |  | Module B | [7 empty] | Module C |  |  |  |  | Module D*
Building element category |  |  | [A1] to [A3] | [A4]2 | [A5] | [B1] | [B2]* | [B3]* | [B4]* | [B5]* | [B6] |  | [B7] | [C1] | [C2] | [C3] | [C4]
0.1 | Demolition: Toxic/Hazardous/Contaminated Material Treatment | [16 empty] | 0
0.2 | Major Demolition Works | [12 empty] | 37168.8 |  |  |  | 37168.8
0.3 | Temporary Support to Adjacent Structures |  |  |  | [A5]: 21140 | [6 empty] | 21140
0.4 | Specialist Ground Works | [16 empty] | 0
0.5 | Temporary Diversion Works |  |  |  | [A5]: 12320 | [6 empty] | 12320
1 | Substructure | -17208.78 | 3478104.07 | 511458.02 | [A5]: 296940; Module B [B1]: -533462.16; Module B [B3]*: 0 |  |  |  | 152930.27 | 15574.7 |  | 3904336.12 | -3272095.86
2.1 | Superstructure: Frame | 0 | 4880022.77 | 402876.17 | [A5]: 281120; Module B [B1]: -301201.2; Module B [B3]*: 0 |  |  |  | 166913.2 | 13371.1 |  | 5443102.04 | -6727245.42
2.2 | Superstructure: Upper Floors | -6146.76 | 6821970.77 | 497294.47 | [A5]: 238840; Module B [B1]: -454457.71; Module B [B3]*: 0; Module B [B4]*: 29643.84 |  |  |  | 178693.44 | 51553.21 | 19.38 | 7357410.64 | -5926200.05
2.3 | Superstructure: Roof | -26228.87 | 769005.27 | 68818.55 | [A5]: 91000; Module B [B1]: -32965.8; Module B [B3]*: 0; Module B [B4]*: 36379.96 |  |  |  | 17388.03 | 19255.16 | 57.81 | 942710.11 | -676678.81
2.4 | Superstructure: Stairs and Ramps | 0 | 71314.95 | 49293.92 | [A5]: 29260; Module B [B1]: -11143.6; Module B [B3]*: 0; Module B [B4]*: 5073.19 |  |  |  | 2356.17 | 355.48 |  | 146510.11 | -35620.73
2.5 | Superstructure: External Walls | 0 | 3895676.63 | 648690.34 | [A5]: 561540; Module B [B1]: -11392.04; Module B [B3]*: 0; Module B [B4]*: 3858650.22 |  |  |  | 51687.97 | 2047.53 | 784.07 | 9007684.72 | -5822709.19
2.6 | Superstructure: Windows and External Doors | -1939.07 | 32970.35 | 4535.58 | [A5]: 45360; Module B [B3]*: 0; Module B [B4]*: 32970.35 |  |  |  | 537.76 | 4.87 | 7.39 | 114447.23 | -293.69
2.7 | Superstructure: Internal Walls and Partitions | -7632.24 | 287939.19 | 46345.18 | [A5]: 65940; Module B [B1]: -2064.36; Module B [B3]*: 0; Module B [B4]*: 294450.69 |  |  |  | 11995.98 | 526.25 | 130.37 | 697631.06 | -227152.39
2.8 | Superstructure: Internal Doors | -106679.05 | 241462.83 | 20022.62 | [A5]: 48440; Module B [B3]*: 0; Module B [B4]*: 241462.83 |  |  |  | 240.26 | 645.35 | 32.63 | 445627.47 | 0
3 | Finishes | 0 | 605649.72 | 102666.87 | [A5]: 455840; Module B [B1]: -1798.38; Module B [B3]*: 0; Module B [B4]*: 220564.08 |  |  |  | 6823.35 | 633.61 | 611.78 | 1390991.03 | -440895.01
4 | Fittings, furnishings & equipment |  |  |  | [A5]: 48720 | [6 empty] | 48720
5 | Services (MEP) | 0 | 4044400.37 | 18208.3 | 759220 | 1390032.05 |  | 0 | 8088800.73 |  | 38677892.82 | 44201642.46 | 29494.88 |  | 28541.24 | 2561.49 | 212.4 | 97241006.74 | -4433424.18
6 | Prefabricated Buildings and Building Units | [16 empty] | 0
7 | Work to Existing Building |  |  |  | [A5]: 106960 | [6 empty] | 106960
8 | External works | -46993.08 | 60675.43 | 28332.39 | [A5]: 110740; Module B [B1]: -1194.05; Module B [B3]*: 0; Module B [B4]*: 9060.83 |  |  |  | 3451.35 | 1691.44 | 0.07 | 165764.38 | -104060.15
TOTAL kg CO2e |  | -212827.85 | 25189192.35 | 2398542.41 | 3173380 | 40352.75 | 0 | 0 | 12817056.72 | 0 | 82879535.28 |  | 29494.88 | 37168.8 | 621559.02 | 108220.19 | 1855.9 | 127083530.45 | -27666375.48
TOTAL - kg CO2e/m2 GIA |  | -3.8374 | 454.1785 | 43.2474 | 57.2182 | 0.72759 | 0 | 0 | 231.1004 | 0 | 1494.3751 |  | 0.53181 | 0.67018 | 11.2071 | 1.9513 | 0.033463 | 2291.4035 | -498.8438
Notes:
* Report non-decarbonised values for both material and operational emissions using current status of the electricity grid. | [18 empty] | Mandatary cells for completion
1 If you have entered a reference study period in cell C10 because the assumed building life expectancy is greater or less than 60 years, this table should be copied and pasted below using the actual assumed life expectancy. This should be done for both GWP reporting tables and should be clearly labelled. | [18 empty] | N/A
2 Use the ‘European manufactured’ transportation scenarios (see Table 7, page 19 of the RICS PS) to calculate transportation emissions of MEP equipment.
ASSESSMENT 2 - expected decarbonisation of the electricity grid
GWP POTENTIAL FOR ALL LIFE-CYCLE MODULES1 (kgCO2e) |  | Sequestered (or biogenic) carbon (negative value) (kgCO2e) | Product stage (kgCO2e) | Construction process stage (kgCO2e) | Module B [B1]: Use stage (kgCO2e) |  |  | End of Life (EoL) stage (kgCO2e) |  |  |  | TOTAL Modules A-C kgCO2e | Benefits and loads beyond the system boundary (kgCO2e)
|  |  | Module A |  | Module B [B1]: Module B |  |  | Module C |  |  |  |  | Module D*
Building element category |  |  | [A1] to [A3] | [A4]2 | [A5] | [B1] | [B2]* | [B3]* | [B4]* | [B5]* | [B6] |  | [B7] | [C1] | [C2] | [C3] | [C4]
0.1 | Demolition: Toxic/Hazardous/Contaminated Material Treatment | [16 empty] | 0
0.2 | Major Demolition Works | [12 empty] | 37168.8 |  |  |  | 37168.8
0.3 | Temporary Support to Adjacent Structures |  |  |  | [A5]: 21140 | [6 empty] | 21140
0.4 | Specialist Ground Works | [16 empty] | 0
0.5 | Temporary Diversion Works |  |  |  | [A5]: 12320 | [6 empty] | 12320
1 | Substructure | -17208.78 | 3478104.07 | 511458.02 | [A5]: 296940; Module B [B1]: -533462.16; Module B [B3]*: 0 |  |  |  | 152930.27 | 15574.7 |  | 3904336.12 | -2889830.8
2.1 | Superstructure: Frame | 0 | 4880022.77 | 402876.17 | [A5]: 281120; Module B [B1]: -301201.2; Module B [B3]*: 0 |  |  |  | 166913.2 | 13371.1 |  | 5443102.04 | -5941329.91
2.2 | Superstructure: Upper Floors | -6146.76 | 6821970.77 | 497294.47 | [A5]: 238840; Module B [B1]: -454457.71; Module B [B3]*: 0; Module B [B4]*: 26180.68 |  |  |  | 178693.44 | 51553.21 | 19.38 | 7353947.48 | -5233867.27
2.3 | Superstructure: Roof | -26228.87 | 769005.27 | 68818.55 | [A5]: 91000; Module B [B1]: -32965.8; Module B [B3]*: 0; Module B [B4]*: 32129.84 |  |  |  | 17388.03 | 19255.16 | 57.81 | 938459.99 | -597625.3
2.4 | Superstructure: Stairs and Ramps | 0 | 71314.95 | 49293.92 | [A5]: 29260; Module B [B1]: -11143.6; Module B [B3]*: 0; Module B [B4]*: 4480.51 |  |  |  | 2356.17 | 355.48 |  | 145917.43 | -31459.31
2.5 | Superstructure: External Walls | 0 | 3895676.63 | 648690.34 | [A5]: 561540; Module B [B1]: -11392.04; Module B [B3]*: 0; Module B [B4]*: 3407860.5 |  |  |  | 51687.97 | 2047.53 | 784.07 | 8556895 | -5142466.8
2.6 | Superstructure: Windows and External Doors | -1939.07 | 32970.35 | 4535.58 | [A5]: 45360; Module B [B3]*: 0; Module B [B4]*: 29118.56 |  |  |  | 537.76 | 4.87 | 7.39 | 110595.44 | -259.38
2.7 | Superstructure: Internal Walls and Partitions | -7632.24 | 287939.19 | 46345.18 | [A5]: 65940; Module B [B1]: -2064.36; Module B [B3]*: 0; Module B [B4]*: 260455.98 |  |  |  | 11995.98 | 526.25 | 130.37 | 663636.35 | -200615.14
2.8 | Superstructure: Internal Doors | -106679.05 | 241462.83 | 20022.62 | [A5]: 48440; Module B [B3]*: 0; Module B [B4]*: 213253.76 |  |  |  | 240.26 | 645.35 | 32.63 | 417418.4 | 0
3 | Finishes | 0 | 605649.72 | 102666.87 | [A5]: 455840; Module B [B1]: -1798.38; Module B [B3]*: 0; Module B [B4]*: 194876.71 |  |  |  | 6823.35 | 633.61 | 611.78 | 1365303.66 | -389402.13
4 | Fittings, furnishings & equipment |  |  |  | [A5]: 48720 | [6 empty] | 48720
5 | Services (MEP) | 0 | 4044400.37 | 18208.3 | 759220 | 1390032.05 |  | 0 | 7205064.05 |  | 12210926.16 | 13954818.97 | 29494.88 |  | 28541.24 | 2561.49 | 212.4 | 39643479.91 | -3937892.21
6 | Prefabricated Buildings and Building Units | [16 empty] | 0
7 | Work to Existing Building |  |  |  | [A5]: 106960 | [6 empty] | 106960
8 | External works | -46993.08 | 60675.43 | 28332.39 | [A5]: 110740; Module B [B1]: -1194.05; Module B [B3]*: 0; Module B [B4]*: 8078.01 |  |  |  | 3451.35 | 1691.44 | 0.07 | 164781.56 | -91903.25
TOTAL kg CO2e |  | -212827.85 | 25189192.35 | 2398542.41 | 3173380 | 40352.75 | 0 | 0 | 11381498.6 | 0 | 26165745.13 |  | 29494.88 | 37168.8 | 621559.02 | 108220.19 | 1855.9 | 68934182.18 | -24456651.5
TOTAL - kg CO2e/m2 GIA |  | -3.8374 | 454.1785 | 43.2474 | 57.2182 | 0.72759 | 0 | 0 | 205.2163 | 0 | 471.7864 |  | 0.53181 | 0.67018 | 11.2071 | 1.9513 | 0.033463 | 1242.9307 | -440.9703
Notes:
* Report decarbonised values for both material and operational emissions using expected decarbonisation of the electricity grid. | [18 empty] | Mandatary cells for completion
1 If you have entered a reference study period in cell C10 because the assumed building life expectancy is greater or less than 60 years, this table should be copied and pasted below using the actual assumed life expectancy. This should be done for both GWP reporting tables and should be clearly labelled. | [18 empty] | N/A
2 Use the ‘European manufactured’ transportation scenarios (see Table 7, page 19 of the RICS PS) to calculate transportation emissions of MEP equipment.

## Appendix 1 - Material Qty & EOL
MATERIAL QUANTITY AND END OF LIFE SCENARIOS - DETAILED PLANNING STAGE
MATERIAL QUANTITY AND END OF LIFE SCENARIOS |  | Product and Construction Stage (Module A) |  | Assumptions made with respect to maintenance, repair and replacement cycles (Module B) | Material 'end of life' scenarios (Module C) | Benefits and loads beyond the system boundary (Module D)
Building element category |  | Material type | Material quantity (kg) |  |  | Estimated reusable materials (kg) | Estimated recyclable materials (kg)
Note/example |  | Breakdown of material type in each category [Insert more lines if needed] e.g. Concrete | 65000 kg | For all primary building systems (structure, substructure, envelope, MEP services, internal finishes) | Declare 'end of life' scenario as per project’s Circular Economy Statement | 0 kg | 25 kg
|  | e.g. Reinforcement | 5000 kg |  |  | 2 kg | 8 kg
|  | e.g. Formwork | 250 kg |  |  | 0 kg | 0 kg
0.1 | Demolition: Toxic/Hazardous/Contaminated Material Treatment
0.2 | Major Demolition Works
0.3 | Temporary Support to Adjacent Structures
0.4 | Specialist Ground Works
1 | Substructure | Concrete | 38332610 | Service life as per building (60 years) | Concrete crushed to aggregate (for sub-base layers) | 0 | 38332610
|  | Steel | 1064500 | Service life as per building (60 years) | Steel recycling | 0 | 1064500
2.1 | Superstructure: Frame | Concrete | 21643200 | Service life as per building (60 years) | Concrete crushed to aggregate (for sub-base layers) | 0 | 21643200
|  | Steel | 2705000 | Service life as per building (60 years) | Steel recycling | 0 | 2705000
2.2 | Superstructure: Upper Floors | Concrete | 32612160 | Service life as per building (60 years) | Concrete crushed to aggregate (for sub-base layers) | 0 | 32612160
|  | Insulation | 22700 | Service life as per building (60 years) | Landfilling (for inert materials) for Glass wool Plastic-based material incineration for EPS insulation | 0 | 0
|  | Mortar | 43480 | 30 year service life | Cement/mortar use in a backfill | 0 | 43480
|  | Plasterboard | 17320 | 30 year service life | Gypsum recycling | 0 | 17320
|  | Steel | 2154300 | Service life as per building (60 years) | Steel recycling | 0 | 2154300
|  | Vapour control layer | 1630 | 30 year service life | Plastic-based material incineration | 0 | 0
|  | Wood | 46240 | Service life as per building (60 years) | Wood incineration | 0 | 0
2.3 | Superstructure: Roof | Bitumen | 16470 | 30 year service life | Landfilling (for inert materials) | 0 | 0
|  | Concrete | 2368800 | Service life as per building (60 years) | Concrete crushed to aggregate (for sub-base layers) | 0 | 2368800
|  | Insulation | 8510 | Service life as per building (60 years) | Plastic-based material incineration | 0 | 0
|  | Paving | 284350 | Service life as per building (60 years) | Rebar separated (2 %), concrete to aggregate | 0 | 284350
|  | Steel | 246000 | Service life as per building (60 years) | Steel recycling | 0 | 246000
|  | Stone | 14160 | 30 year service life | Brick/stone crushed to aggregate (for sub-base layers) | 0 | 14160
|  | Wood | 17082 | Service life as per building (60 years) for roof structure 30 year service life for roof coverings | Wood incineration | 0 | 0
|  | Zinc | 5760 | 30 year service life | Landfilling (for inert materials) | 0 | 0
2.4 | Superstructure: Stairs and Ramps | Concrete | 800740 | Service life as per building (60 years) for stair structure 30 year service life for stair screed | Rebar separated (2 %), concrete to aggregate fro stair structure Cement/mortar used in a backfill for stair screed | 0 | 800740
|  | Steel | 340 | Service life as per building (60 years) | Steel recycling | 0 | 340
2.5 | Superstructure: External Walls | Aluminium | 227530 | 35 year service life | Aluminium recycling | 0 | 227530
|  | Brick | 297200 | Service life as per building (60 years) | Brick/stone crushed to aggregate (for sub-base layers) | 0 | 297200
|  | Cement | 666650 | 35 year service life for curtain walling components Service life as per building (60 years) for external wall | Concrete crushed to aggregate (for sub-base layers) | 0 | 666650
|  | Concrete | 132120 | Service life as per building (60 years) | Concrete crushed to aggregate (for sub-base layers) | 0 | 132120
|  | Glass | 551500 | 35 year service life | Glass recycling | 0 | 551500
|  | Insulation | 298640 | 35 year service life for curtain walling components Service life as per building (60 years) for external wall | Landfilling (for inert materials) | 0 | 0
|  | Mortar | 19820 | 30 year service life | Cement/mortar use in a backfill | 0 | 19820
|  | Plaster | 2910 | 30 year service life | Landfilling (for inert materials) | 0 | 0
|  | Plasterboard | 16630 | 30 year service life | Gypsum recycling | 0 | 16630
|  | Steel | 452950 | 35 year service life for curtain walling components | Steel recycling | 0 | 452950
2.6 | Superstructure: Windows and External Doors | Doors | 8170 | 30 year service life | Glass-containing product recycling for glass components (80% glass) Wood-containing product incineration of wood components (80% wood) | 0 | 7980
|  | Windows | 6040 | 30 year service life | Glass-containing product recycling | 0 | 6040
2.7 | Superstructure: Internal Walls and Partitions | Concrete | 148340 | Service life as per building (60 years) | Concrete crushed to aggregate (for sub-base layers) | 0 | 148340
|  | Insulation | 45260 | 30 year service life for internal partitioning | Landfilling (for inert materials) | 0 | 0
|  | Paint | 4880 | 10 year service life | Landfilling (for inert materials) | 0 | 0
|  | Plasterboard | 436260 | 30 year service life | Gypsum recycling | 0 | 436260
|  | Steel | 47600 | 30 year service life for internal partitioning | Steel recycling | 0 | 47600
|  | Wood | 4860 | 30 year service life for internal partitioning | Wood incineration | 0 | 0
2.8 | Superstructure: Internal Doors | Doors | 62740 | 30 year service life | Wood-containing product incineration | 0 | 0
3 | Finishes | Bitumen | 4020 | 30 year service life | Landfilling (for inert materials) | 0 | 0
|  | Concrete | 129230 | 30 year service life | Cement/mortar use in a backfill | 0 | 129230 | Concrete - check EOL
|  | Paint | 1749 | 10 year service life | Landfilling (for inert materials) | 0 | 0
|  | Plaster | 47850 | 30 year service life | Landfilling (for inert materials) | 0 | 0
|  | Plasterboard | 80140 | 30 year service life | Gypsum recycling | 0 | 80140
|  | Raised floor | 98580 | 30 year service life | Steel recycling | 0 | 98580
|  | Sealant | 181680 | Service life as per building (60 years) | Landfilling (for inert materials) | 0 | 0
|  | Tiles | 76280 | 10 year service life | Brick/stone crushed to aggregate (for sub-base layers) | 0 | 76280
4 | Fittings, furnishings & equipment (FFE)
5 | Services (MEP) | Systems | 752020 | 20 year service life 25 year service life for water and disposal installation systems | Metal-containing product recycling (90 % metal) Landfilling (for inert materials) (water installation only) | 0 | 744810
6 | Prefabricated Buildings and Building Units
7 | Work to Existing Building
8 | External works | Aggregate | 591990 | Service life as per building (60 years) | Backfilling (for inert materials) | 0 | 591990
|  | Concrete | 85800 | Service life as per building (60 years) | Concrete crushed to aggregate (for sub-base layers) | 0 | 85800
|  | Lighting | 24 | 15 year service life | Landfilling (for inert materials) | 0 | 0
|  | Paving | 209860 | Service life as per building (60 years) | Rebar separated (2 %), concrete to aggregate | 0 | 209860
|  | Steel | 21110 | Service life as per building (60 years) | Steel recycling | 0 | 21110
|  | Stone | 15510 | Service life as per building (60 years) | Brick/stone crushed to aggregate (for sub-base layers) | 0 | 15510
|  | CCTV | 2.5 | 15 year service life | Landfilling (for inert materials) | 0 | 0
|  | TOTAL | 108131297.5 |  |  | 0 | 107350890
|  | Material intensity (kg/m2 GIA) | 1949.6817 |  |  | 0 | 1935.6104

## Post-construction result
Project details
Project name
Planning application reference number (if applicable)
Use Type |  | e.g. A1, B1 etc.
Brief description of the project
GIA (m2)
Authors (organisation or individuals)
Date of assessment
Nationally recognised assessment method used |  | e.g. BS EN 15978, with additional guidance from RICS Professional Statement
Reference study period (if not 60 years) |  | [This cell should only be filled in if the reference study period, i.e. the assumed building life expectancy, exceeds or is less than 60 years. Applicants should state the reference study period in this cell. While the assessment should still be done to 60 years, applicants may, if they choose to, submit an additional assessment of the modules B, C and D for the actual reference study period by copying and pasting an additional 'GWP potential for all life-cycle modules' table, see below].
Software tool used |  | [This should align with the software tool used at outline/detailed planning stage]
Source of carbon data for materials and products |  | [See guidance for acceptable sources]
EPD database used |  | [If using more than one database please list all]
WLC emissions baseline (Assessment 1) (automatically populated from the 'detailed planning stage' tab) | [7 empty] | WLC emissions baseline (Assessment 2) (automatically populated from the 'detailed planning stage' tab)
|  | Module A1-A5 | Module B1-B5 | Module B6-B7 | Module C1-C4 | Module D |  |  |  | Module A1-A5 | Module B1-B5 | Module B6-B7 | Module C1-C4 | Module D
TOTAL kg CO2e |  | 30548286.91 | 12857409.47 | 82909030.16 | 768803.91 | -27666375.48 |  | TOTAL kg CO2e |  | 30548286.91 | 11421851.35 | 26195240.01 | 768803.91 | -24456651.5
TOTAL kg CO2e/m2 GIA |  | 550.8066 | 231.8279 | 1494.9069 | 13.8621 | -498.8438 |  | TOTAL kg CO2e/m2 GIA |  | 550.8066 | 205.9438 | 472.3182 | 13.8621 | -440.9703
Post-construction WLC emissions (Assessment 1) (automatically populated from Assessment 1 below) | [7 empty] | Post-construction WLC emissions (Assessment 2) (automatically populated from Assessment 2 below)
|  | Module A1-A5 | Module B1-B5 | Module B6-B7 | Module C1-C4 | Module D |  |  |  | Module A1-A5 | Module B1-B5 | Module B6-B7 | Module C1-C4 | Module D
TOTAL kg CO2e |  | 0 | 0 | #VALUE! | 0 | 0 |  | TOTAL kg CO2e |  | 0 | 0 | #VALUE! | 0 | 0
TOTAL kg CO2e/m2 GIA |  | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0! |  | TOTAL kg CO2e/m2 GIA |  | #DIV/0! | #DIV/0! | #VALUE! | #DIV/0! | #DIV/0!
Commentary comparing the post-construction results against the WLC emissions baseline (Assessment 1) above |  | [Explain the reasons for any divergences from assessment 1 result against the WLC emissions baseline above] | [5 empty] | Commentary comparing the post-construction results against the WLC emissions baseline (Assessment 2) above |  | [Explain the reasons for any divergences from assessment 2 result against the WLC emissions baseline above]
Commentary comparing the post-construction results against the WLC benchmarks (see Appendix 2) |  | [Explain the reasons for any divergences from WLC benchmarks, including against the WLC aspirational benchmarks] | [5 empty] | Commentary comparing the post-construction results against the WLC benchmarks (see Appendix 2) |  | [Explain the reasons for any divergences from WLC benchmarks, including against the WLC aspirational benchmarks. Please note that grid decarbonisation has not been accounted for in the benchmarks]
Confirm here whether Assessment 1 or Assessment 2 formed the basis of design decisions
Summary of key actions undertaken to reduce whole life-cycle carbon emissions, including the reductions achieved |  | Action undertaken |  |  | WLC reduction achieved (kg CO2e/m2 GIA)
[This list does not need to be exhaustive but should identify the actions with the biggest impacts. Insert more lines if needed]
Lessons learnt from the process of undertaking a WLC assessment that will inform future projects |  | i.e. Design options or materials that could be used, design principles that could be applied.
[Insert more lines if needed]
MATERIAL QUANTITY AND END OF LIFE SCENARIOS |  | Product and Construction Stage (Module A) |  | Assumptions made with respect to maintenance, repair and replacement cycles (Module B) | Material 'end of life' scenarios (Module C) |  | Benefits and loads beyond the system boundary (Module D)
Building element category |  | Material type | Material quantity (kg) |  |  |  | Estimated reusable materials (kg) | Estimated recyclable materials (kg)
Note/example |  | Breakdown of material type in each category [Insert more lines if needed] e.g. Concrete | 65000 kg | For all primary building systems (structure, substructure, envelope, MEP services, internal finishes) | Declare 'end of life' scenario as per project’s Circular Economy Statement |  | 0 kg | 25 kg
|  | e.g. Reinforcement | 5000 kg |  |  |  | 2 kg | 8 kg
|  | e.g. Formwork | 250 kg |  |  |  | 0 kg | 0 kg
0.1 | Demolition: Toxic/Hazardous/Contaminated Material Treatment
0.2 | Major Demolition Works
0.3 | Temporary Support to Adjacent Structures
0.4 | Specialist Ground Works
1 | Substructure
2.1 | Superstructure: Frame
2.2 | Superstructure: Upper Floors
2.3 | Superstructure: Roof
2.4 | Superstructure: Stairs and Ramps
2.5 | Superstructure: External Walls
2.6 | Superstructure: Windows and External Doors
2.7 | Superstructure: Internal Walls and Partitions
2.8 | Superstructure: Internal Doors
3 | Finishes
4 | Fittings, furnishings & equipment (FFE)
5 | Services (MEP)
6 | Prefabricated Buildings and Building Units
7 | Work to Existing Building
8 | External works
|  | TOTAL | 0 |  |  |  | 0 | 0
|  | Material intensity (kg/m2 GIA) | #DIV/0! |  |  |  | #DIV/0! | #DIV/0!
ASSESSMENT 1 - current status of the electricity grid
GWP POTENTIAL FOR ALL LIFE-CYCLE MODULES1 (kgCO2e) |  | Sequestered (or biogenic) carbon (negative value) (kgCO2e) | Product stage (kgCO2e) | Construction process stage (kgCO2e) |  | Use stage (kgCO2e) | [7 empty] | End of Life (EoL) stage (kgCO2e) |  |  |  | TOTAL Modules A-C kgCO2e | Benefits and loads beyond the system boundary (kgCO2e)
|  |  | Module A |  |  | Module B | [7 empty] | Module C |  |  |  |  | Module D*
Building element category |  |  | [A1] to [A3] | [A4] | [A5] | [B1] | [B2]* | [B3]* | [B4]* | [B5]* | [B6] |  | [B7] | [C1] | [C2] | [C3] | [C4]
0.1 | Demolition: Toxic/Hazardous/Contaminated Material Treatment | [16 empty] | 0
0.2 | Major Demolition Works | [16 empty] | 0
0.3 | Temporary Support to Adjacent Structures | [16 empty] | 0
0.4 | Specialist Ground Works | [16 empty] | 0
0.5 | Temporary Diversion Works | [16 empty] | 0
1 | Substructure | [16 empty] | 0
2.1 | Superstructure: Frame | [16 empty] | 0
2.2 | Superstructure: Upper Floors | [16 empty] | 0
2.3 | Superstructure: Roof | [16 empty] | 0
2.4 | Superstructure: Stairs and Ramps | [16 empty] | 0
2.5 | Superstructure: External Walls | [16 empty] | 0
2.6 | Superstructure: Windows and External Doors | [16 empty] | 0
2.7 | Superstructure: Internal Walls and Partitions | [16 empty] | 0
2.8 | Superstructure: Internal Doors | [16 empty] | 0
3 | Finishes | [16 empty] | 0
4 | Fittings, furnishings & equipment | [16 empty] | 0
5 | Services (MEP) |  |  | Module B [B6]: Regulated emissions | Unregulated emissions | [5 empty] | 0
6 | Prefabricated Buildings and Building Units | [16 empty] | 0
7 | Work to Existing Building | [16 empty] | 0
8 | External works | [16 empty] | 0
TOTAL kg CO2e |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL - kg CO2e/m2 GIA |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Notes:
* Report non-decarbonised values for both material and operational emissions using current status of the electricity grid. | [18 empty] | Mandatary cells for completion
1 If you have entered a reference study period in cell C10 because the assumed building life expectancy is greater or less than 60 years, this table should be copied and pasted below using the actual assumed life expectancy. This should be done for both GWP reporting tables and should be clearly labelled. | [18 empty] | N/A
ASSESSMENT 2 - expected decarbonisation of the electricity grid
GWP POTENTIAL FOR ALL LIFE-CYCLE MODULES1 (kgCO2e) |  | Sequestered (or biogenic) carbon (negative value) (kgCO2e) | Product stage (kgCO2e) | [A4]: Construction process stage (kgCO2e); Module B [B1]: Use stage (kgCO2e) |  |  | End of Life (EoL) stage (kgCO2e) |  |  |  | TOTAL Modules A-C kgCO2e | Benefits and loads beyond the system boundary (kgCO2e)
|  |  | Module A | Module B [B1]: Module B |  |  | Module C |  |  |  |  | Module D*
Building element category |  |  | [A1] to [A3] | [A4] | [A5] | [B1] | [B2]* | [B3]* | [B4]* | [B5]* | [B6] |  | [B7] | [C1] | [C2] | [C3] | [C4]
0.1 | Demolition: Toxic/Hazardous/Contaminated Material Treatment | [16 empty] | 0
0.2 | Major Demolition Works | [16 empty] | 0
0.3 | Temporary Support to Adjacent Structures | [16 empty] | 0
0.4 | Specialist Ground Works | [16 empty] | 0
0.5 | Temporary Diversion Works | [16 empty] | 0
1 | Substructure | [16 empty] | 0
2.1 | Superstructure: Frame | [16 empty] | 0
2.2 | Superstructure: Upper Floors | [16 empty] | 0
2.3 | Superstructure: Roof | [16 empty] | 0
2.4 | Superstructure: Stairs and Ramps | [16 empty] | 0
2.5 | Superstructure: External Walls | [16 empty] | 0
2.6 | Superstructure: Windows and External Doors | [16 empty] | 0
2.7 | Superstructure: Internal Walls and Partitions | [16 empty] | 0
2.8 | Superstructure: Internal Doors | [16 empty] | 0
3 | Finishes | [16 empty] | 0
4 | Fittings, furnishings & equipment | [16 empty] | 0
5 | Services (MEP) |  |  | Module B [B6]: Regulated emissions | Unregulated emissions | [5 empty] | 0
6 | Prefabricated Buildings and Building Units | [16 empty] | 0
7 | Work to Existing Building | [16 empty] | 0
8 | External works | [16 empty] | 0
TOTAL kg CO2e |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL - kg CO2e/m2 GIA |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #VALUE! |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Notes:
* Report decarbonised values for both material and operational emissions using expected decarbonisation of the electricity grid. | [18 empty] | Mandatary cells for completion
1 If you have entered a reference study period in cell C10 because the assumed building life expectancy is greater or less than 60 years, this table should be copied and pasted below using the actual assumed life expectancy. This should be done for both GWP reporting tables and should be clearly labelled. | [18 empty] | N/A

## Drop down list
Assessment no. | WLC reduction principles adopted
Assessment 1 | Y
Assessment 2 | N